## ELISA AGRITEST
ANNEX V
EU-XF- PT-2017-02 - XYLELLA FASTIDIOSA
N. participant laboratories: 11
RESULT SUMMARY: ELISA with kit Agritest
Laboratory code |  |  | L02 |  | L03 |  |  |  | L06 |  | L07 |  |  | L10 |  |  | L22 |  |  |  | L25 |  | L28 |  |  | L30 |  |  | L32 |  |  | L33
List of samples | assigned value | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance | OD405 (180 min) (Average) | Results obtained | Accordance/Discordance
10^6 (cfu/mL) rep1 | positive | 3.25 | Positive | PA | 3.589 | Positive | PA | 2.244 | Positive | PA | 2.629 | Positive | PA | 4.2895 | Positive | PA | 3.0605 | Positive | PA | 3.2 | Positive | PA | 2.904 | Positive | PA | 2.4211 | Positive | PA | 3.351 | Positive | PA | 4.024 | Positive | PA
10^6 (cfu/mL) rep2 | positive | 3.161 | Positive | PA | 3.58 | Positive | PA | 1.8255 | Positive | PA | 2.7665 | Positive | PA | 4.173 | Positive | PA | 3.107 | Positive | PA | 3.22 | Positive | PA | 2.9475 | Positive | PA | 2.5068 | Positive | PA | 3.124 | Positive | PA | 3.598 | Positive | PA
10^6 (cfu/mL) rep3 | positive | 3.123 | Positive | PA | 3.548 | Positive | PA | 1.625 | Positive | PA | 2.755 | Positive | PA | 4.334 | Positive | PA | 3.2015 | Positive | PA | 3.191 | Positive | PA | 2.9955 | Positive | PA | 2.3699 | Positive | PA | 3.161 | Positive | PA | 3.905 | Positive | PA
10^5 (cfu/mL) rep1 | positive | 3.152 | Positive | PA | 2.267 | Positive | PA | 0.5925 | Positive | PA | 2.7215 | Positive | PA | 2.8745 | Positive | PA | 1.978 | Positive | PA | 3.151 | Positive | PA | 2.116 | Positive | PA | 2.393 | Positive | PA | 3.0815 | Positive | PA | 2.328 | Positive | PA
10^5 (cfu/mL) rep2 | positive | 3.121 | Positive | PA | 2.266 | Positive | PA | 0.6285 | Positive | PA | 2.5295 | Positive | PA | 2.5665 | Positive | PA | 1.545 | Positive | PA | 3.148 | Positive | PA | 2.1595 | Positive | PA | 2.3459 | Positive | PA | 3.0025 | Positive | PA | 0.93 | Positive | PA
10^5 (cfu/mL) rep3 | positive | 3.163 | Positive | PA | 2.119 | Positive | PA | 0.588 | Positive | PA | 2.5125 | Positive | PA | 2.4445 | Positive | PA | 2.3425 | Positive | PA | 3.187 | Positive | PA | 2.061 | Positive | PA | 2.3987 | Positive | PA | 3.3405 | Positive | PA | 1.511 | Positive | PA
10^4(cfu/mL)rep 1 | positive | 0.728 | Positive | PA | 0.149 | Positive | PA | 0.0675 | Negative | ND | 0.279 | Undetermined | ND | 0.3665 | Undetermined | ND | 0.1715 | Negative | ND | 0.423 | Positive | PA | 0.3665 | Undetermined | ND | 0.48906 | Positive | PA | 0.504 | undetermined | ND | 0.264 | Negative | ND
10^4 (cfu/mL) rep2 | positive | 0.654 | Positive | PA | 0.144 | Positive | PA | 0.007 | Negative | ND | 0.363 | Positive | PA | 0.3045 | Undetermined | ND | 0.2335 | Positive | PA | 0.41 | Positive | PA | 0.359 | Undetermined | ND | 0.47596 | Positive | PA | 0.5355 | undetermined | ND | 0.259 | Negative | ND
10^4(cfu/mL) rep3 | positive | 0.44 | Positive | PA | 0.148 | Positive | PA | 0.043 | Negative | ND | 0.305 | Undetermined | ND | 0.341 | Undetermined | ND | 0.1685 | Negative | ND | 0.431 | Positive | PA | 0.3525 | Undetermined | ND | 0.50026 | Positive | PA | 0.5235 | undetermined | ND | 0.273 | Negative | ND
Healthy rep 1 | negative | 0.075 | Negative | NA | 0.012 | Negative | NA | 0.0415 | Negative | NA | 0.0555 | Negative | NA | 0.143 | Negative | NA | 0.083 | Negative | NA | 0.124 | Negative | NA | 0.2135 | Negative | NA | 0.11656 | Negative | NA | 0.3465 | Negative | NA | 0.207 | Negative | NA
Healthy rep2 | negative | 0.092 | Negative | NA | 0.015 | Negative | NA | 0.045 | Negative | NA | 0.0565 | Negative | NA | 0.1695 | Negative | NA | 0.0875 | Negative | NA | 0.13 | Negative | NA | 0.213 | Negative | NA | 0.10421 | Negative | NA | 0.351 | Negative | NA | 0.218 | Negative | NA
Healthy rep3 | negative | 0.054 | Negative | NA | 0.017 | Negative | NA | 0.0195 | Negative | NA | 0.074 | Negative | NA | 0.177 | Negative | NA | 0.0915 | Negative | NA | 0.127 | Negative | NA | 0.21 | Negative | NA | 0.095912 | Negative | NA | 0.3385 | Negative | NA | 0.23 | Negative | NA
Lure | Lure |  | Positive | not evaluated |  | Negative | not evaluated |  | Negative | not evaluated |  | Negative | not evaluated |  | Positive | not evaluated |  | Negative | not evaluated |  | Positive | not evaluated |  | Positive | not evaluated |  | Positive | not evaluated |  | Negative | not evaluated |  | Negative | not evaluated
Total
N+ | 9
N- | 3
N | 12
Performance criteria: sensibility, specificity, accuracy, repeatability
Laboratory Code |  | L02 |  |  | L03 |  |  | L06 |  |  | L07 |  |  | L10 |  |  | L22 |  |  | L25 |  |  | L28 |  |  | L30 |  |  | L32 |  |  | L33
Sensibility |  | 100% |  |  | 100% |  |  | 67% |  |  | 78% |  |  | 67% |  |  | 78% |  |  | 100% |  |  | 67% |  |  | 100% |  |  | 67% |  |  | 67%
Specificity |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100%
Accuracy |  | 100% |  |  | 100% |  |  | 75% |  |  | 83% |  |  | 75% |  |  | 83% |  |  | 100% |  |  | 75% |  |  | 100% |  |  | 75% |  |  | 75%
Repetability |  | 100% |  |  | 100% |  |  | 100% |  |  | 89% |  |  | 100% |  |  | 89% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100%
|  | any modification from the manufacturer's instruction | no |  | any modification from the manufacturer's instruction | no |  | any modification from the manufacturer's instruction | No |  | any modification from the manufacturer's instruction | used 100 ul to each well |  | any modification from the manufacturer's instruction | used 100 ul to each well |  | any modification from the manufacturer's instruction |  |  | any modification from the manufacturer's instruction | filter of microplate reader at OD 415 |  | any modification from the manufacturer's instruction | Final volume used for test: 100 µl |  | any modification from the manufacturer's instruction |  |  | any modification from the manufacturer's instruction | loaded 100 µL |  | any modification from the manufacturer's instruction
|  | plastic used: (plates) | Nunc MaxiSorp, loaded 200 µL |  | plastic used: (plates) | Nunc MaxiSorp, loaded 200 µL |  | plastic used: (plates) | Plates of NUNC provided in the Loewe kit, loaded 200 µL |  | plastic used: (plates) | Costar |  | plastic used: (plates) | COSTAR 2797 |  | plate: | NUNC, loaded 200 µL |  | plastic used: (plates) | NUNC, loaded 200 µL |  | plate: | Costar |  | plate: | NUNC Maxi Sorp, loaded 200 µL |  | plastic used: (plates) | costar |  | plastic used: (plates) | NUNC, loaded 200 µL
|  | spectrophotometer | Bio-Rad 680 |  | microplate READER | MultiSkan GO |  | microplate READER | iMark Microplate Absorbance Reader (BIORAD) |  | microplate READER | Multiskan Ex |  | microplate READER | MULTISKAN FC- THERMO SCIENTIFIC |  | microplate READER | MULTISKAN EX (THERMO ELECTRON CORPORATION) |  | microplate READER | Biorad mod. 680 |  | microplate READER | Multiskan EX Thermo Scientific |  | microplate READER | TECAN |  | microplate READER | HumaReader HS |  | microplate READER | perkin elmer 2030 victor x5
We have used BIOREBA commercial buffers *
*Coating Buffer Tablets :Art.No.110111
*Conjugate Buffer (10X): Art.No. 110140
* Substrate Buffer (5X):Art.No.110130