## results ctab qPCR
ANNEX V
EU-XF- PT-2017-02 - XYLELLA FASTIDIOSA
N. participant laboratories: 20
|  | n/a= not applicable | [5 empty] | RESULT SUMMARY: CTAB extraction and qPCR (Harper etl al., 2010)
Laboratory code |  | L01 |  |  | L04 |  |  | L09 |  |  | L10 |  |  | L11 |  |  | L12 |  |  | L13 |  |  | L16 |  |  | L17 |  |  | L18 |  |  | L19 |  |  | L20 |  |  | L21 |  |  | L23 |  |  | L26 |  |  | L27 |  |  | L28 |  |  | L29 |  |  | L30 |  |  | L33
List of samples | assigned value | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average)* | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance | Cq values (Average) | Results obtained | accordance/discordance
10^6 (cfu/mL) rep1 | positive | 17.905 | positive | PA | 23.445 | positive | PA | 23.6 | positive | PA | 20.98 | positive | PA | 18.665 | positive | PA | 21.25 | positive | PA | 18.66 | positive | PA | 23.685 | positive | PA | 21.1739 | positive | PA | 20.95 | positive | PA | 18.6 | positive | PA | 21.25 | positive | PA | 19.475 | positive | PA | 18.875 | positive | PA | 21.555 | positive | PA | 23.245 | positive | PA | 18.315 | positive | PA | 20.7345 | positive | PA | 21.135 | positive | PA | 19.42 | positive | PA
10^6 (cfu/mL) rep2 | positive | 18.02 | positive | PA | 23.55 | positive | PA | 23.875 | positive | PA | 20.91 | positive | PA | 18.9 | positive | PA | 21.25 | positive | PA | 18.8 | positive | PA | 23.265 | positive | PA | 20.9656 | positive | PA | 21.2 | positive | PA | 18.77 | positive | PA | 21.7 | positive | PA | 19.66 | positive | PA | 19.025 | positive | PA | 22.1 | positive | PA | 23.69 | positive | PA | 18.125 | positive | PA | 20.8873 | positive | PA | 20.505 | positive | PA | 19.465 | positive | PA
10^6 (cfu/mL) rep3 | positive | 18.065 | positive | PA | 23.35 | positive | PA | 23.145 | positive | PA | 20.69 | positive | PA | 18.7 | positive | PA | 21.35 | positive | PA | 18.855 | positive | PA | 21.235 | positive | PA | 21.0237 | positive | PA | 22.2 | positive | PA | 18.775 | positive | PA | 21.75 | positive | PA | 19.79 | positive | PA | 18.92 | positive | PA | 24.83 | positive | PA | 23.08 | positive | PA | 18.285 | positive | PA | 20.9254 | positive | PA | 22.3 | positive | PA | 19.115 | positive | PA
10^5 (cfu/mL) rep1 | positive | 19.535 | positive | PA | 27.1 | positive | PA | 27.255 | positive | PA | 24.075 | positive | PA | 22.045 | positive | PA | 25.15 | positive | PA | 22.17 | positive | PA | 25.485 | positive | PA | 24.3357 | positive | PA | 26.2 | positive | PA | 22.075 | positive | PA | 24.75 | positive | PA | 23.63 | positive | PA | 22.47 | positive | PA | 26.915 | positive | PA | 26.895 | positive | PA | 21.39 | positive | PA | 23.7523 | positive | PA | 23.36 | positive | PA | 22.56 | positive | PA
10^5 (cfu/mL) rep2 | positive | 21.58 | positive | PA | 27.2 | positive | PA | 27.19 | positive | PA | 24.09 | positive | PA | 22.155 | positive | PA | 24.95 | positive | PA | 22.31 | positive | PA | 25.725 | positive | PA | 24.6221 | positive | PA | 23.1 | positive | PA | 22.04 | positive | PA | 26.55 | positive | PA | 23.175 | positive | PA | 22.415 | positive | PA | 27.28 | positive | PA | 26.85 | positive | PA | 21.58 | positive | PA | 24.1015 | positive | PA | 21.695 | positive | PA | 22.465 | positive | PA
10^5 (cfu/mL) rep3 | positive | 21.55 | positive | PA | 26.95 | positive | PA | 27.15 | positive | PA | 24.16 | positive | PA | 21.975 | positive | PA | 25.1 | positive | PA | 22 | positive | PA | 24.55 | positive | PA | 24.2365 | positive | PA | 24.15 | positive | PA | 22.28 | positive | PA | 24.3 | positive | PA | 23.22 | positive | PA | 22.53 | positive | PA | 24.845 | positive | PA | 27.02 | positive | PA | 21.305 | positive | PA | 24.1416 | positive | PA | 25.445 | positive | PA | 22.475 | positive | PA
10^4(cfu/mL)rep 1 | positive | 24.635 | positive | PA | 30.535 | positive | PA | 29.795 | positive | PA | 27.57 | positive | PA | 25.185 | positive | PA | 27.7 | positive | PA | 25.315 | positive | PA | 29.055 | positive | PA | 27.5498 | positive | PA | 27.5 | positive | PA | 25.19 | positive | PA | 28.35 | positive | PA | 26.63 | positive | PA | 25.535 | positive | PA | 29.515 | positive | PA | 30.07 | positive | PA | 24.935 | positive | PA | 27.0838 | positive | PA | 28.01 | positive | PA | 25.98 | positive | PA
10^4 (cfu/mL) rep2 | positive | 24.73 | positive | PA | 30.335 | positive | PA | 29.835 | positive | PA | 27.25 | positive | PA | 25.325 | positive | PA | 27.4 | positive | PA | 25.385 | positive | PA | 28.13 | positive | PA | 27.572 | positive | PA | 29.05 | positive | PA | 25.24 | positive | PA | 28.05 | positive | PA | 26.335 | positive | PA | 25.595 | positive | PA | 28.735 | positive | PA | 29.795 | positive | PA | 25.065 | positive | PA | 27.2591 | positive | PA | 29.045 | positive | PA | 25.945 | positive | PA
10^4(cfu/mL) rep3 | positive | 25.26 | positive | PA | 30.735 | positive | PA | 30.325 | positive | PA | 27.44 | positive | PA | 25.5 | positive | PA | 27.25 | positive | PA | 25.54 | positive | PA | 29.585 | positive | PA | 27.3001 | positive | PA | 29.65 | positive | PA | 25.18 | positive | PA | 27.9 | positive | PA | 27.07 | positive | PA | 25.64 | positive | PA | 29.215 | positive | PA | 30.815 | positive | PA | 24.665 | positive | PA | 27.4264 | positive | PA | 26.445 | positive | PA | 25.91 | positive | PA
Healthy rep 1 | negative | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | 40 | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA
Healthy rep2 | negative | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | 40 | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA
Healthy rep3 | negative | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | 40 | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA | n/a | negative | NA
Lure | Lure |  | positive | not evaluated |  | negative | not evaluated |  | positive | not evaluated |  | positive | not evaluated |  | positive | not evaluated |  | negative | not evaluated |  | negative | not evaluated |  | negative | not evaluated |  | negative | not evaluated |  | positive | not evaluated |  | negative | not evaluated |  | positive | not evaluated |  | negative | not evaluated |  | negative | not evaluated |  | positive | not evaluated |  | negative | not evaluated |  | negative | not evaluated |  | positive | not evaluated |  | positive | not evaluated |  | positive | not evaluated
* Mix5x HOT FIREPol® Probe Universal qPCR M
Total
N+ | 9
N- | 3
N | 12
Performance criteria: sensibility, specificity, accuracy, repeatability
Laboratory Code |  | L01 |  |  | L04 |  |  | L09 |  |  | L10 |  |  | L11 |  |  | L12 |  |  | L13 |  |  | L16 |  |  | L17 |  |  | L18 |  |  | L19 |  |  | L20 |  |  | L21 |  |  | L23 |  |  | L26 |  |  | L27 |  |  | L28 |  |  | L29 |  |  | L30 |  |  | L33
Sensibility |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100%
Specificity |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100%
Accuracy |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100%
Repeatability |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100% |  |  | 100%
|  | qPCR Master mix: | PerfeCTa FastMix II (Quantabio) |  | qPCR Master mix: | Applied Biosystems, TaqMan® Universal Master Mix II, no UNG |  | qPCR Master mix: | Taqman fast advanced master mix Applied Biosystem (Cod. 4444557) |  | qPCR Master mix: | BIORAD SsoAdvanced™ Universal Probes Supermix |  | qPCR Master mix: | Indicate here company/brand |  | qPCR Master mix: | Quantinova PROBE PCR KIT, Qiagen |  | qPCR Master mix: | TaqMan Fast Universal PCR Master Mix, Applied Biosystems |  | qPCR Master mix: | TaqMan Universal PCR Master Mix (AB) (4304437) |  | qPCR Master mix: | Promega Go Taq OCR Master mix 2x |  | qPCR Master mix: | Diagenod |  | qPCR Master mix: | GoTaq Probe qPCR Master mix – Promega and ROX reference Dye - Invitrogen |  | qPCR Master mix: | Applied Biosystems |  | qPCR Master mix: | Solis Biodyne |  | qPCR Master mix: | Bioline SensiFast Probe No-Rox |  | qPCR Master mix: | Applied Biosystems |  | qPCR Master mix: | Applied Biosystems |  | qPCR Master mix: | SSo Universal probe, Biorad |  | qPCR Master mix: | Sigma ReadyMix for Quantative PCR (D7440-400RXN) |  | qPCR Master mix: | Taqman fast advanced master mix (Applied Biosystem) cod. 4444557 |  | qPCR Master mix: | TaqMan® Environmental Master Mix 2.0 (AB) (Cod.) 4396838
|  | Reaction mix* | skaled down to 10µl total reaction volume |  | Reaction mix* | MgCl2 added at a final concentration of 1,5 mM |  | Reaction mix* | Indicate below the composition of the reaction mix if different from the one reported in the protocols |  | Reaction mix* |  |  | Reaction mix* | 5x HOT FIREPol® Probe Universal qPCR Mix (With/without uracil-DNA-glycosylase and dUTP) |  | Reaction mix* | 1X quantinova Probe PCR kit mix, same final concentration of primers/probe, no BSA |  | Reaction mix* | n/a |  | Reaction mix* | Without BSA |  | Reaction mix* | Indicate below the composition of the reaction mix if different from the one reported in the protocols |  | Reaction mix* | equal to protocol |  | Reaction mix* | MM 1x; primers 0,3μM; probe 0,1μM; ROX 0,5μL/reac |  | Reaction mix* | TaqMan® Universal PCR Master Mix Cat-No. 4304437* |  | Reaction mix* | CyGreen as unspecific dsDNA dye used, 5xMasterMix not 2x, 63.5°C as annealing/elongation T used, 0.125µM final Primer concentration used |  | Reaction mix* | Indicate below the composition of the reaction mix if different from the one reported in the protocols |  | Reaction mix* | Indicate below the composition of the reaction mix if different from the one reported in the protocols |  | Reaction mix* | reaction mix did not contain BSA. When BSA was added according to protocol, all samples including PAC were negative. Reactions were repeated independently 3 times |  | Reaction mix* | - |  | Reaction mix* | See below |  | Reaction mix* | BSA was not included |  | Reaction mix*
|  | Primers/probe | Eurofins |  | Primers/probe | metabion |  | Primers/probe | Bio-Fab Research s.r.l. |  | Primers/probe | BIOMERS.NET |  | Primers/probe | IDT |  | Primers/probe | Primers Invitrogen, Probe Metabion |  | Primers/probe | MWG Eurofins |  | Primers/probe | Metabion |  | Primers | IDT (Integrated DNA Technologies) |  | Primers/probe | Stabvida |  | Primers/probe | Metabion |  | Primers/probe | MWG-Eurofins |  | Primers/probe | Mwg Eurofins |  | Primers/probe | IBA- Solutions for Life Sciences |  | Primers/probe | Genomed |  | Primers/probe | Genomed, Warsaw |  | Primers/probe | Eurofins Genomics srl |  | Primers/probe | Eurofins Genomics |  | Primers/probe | Macrogen |  | Primers/probe | Eurofins Genomics
|  | Fluorophore used to label the Xf- probe | FAM/BHQ1 |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | FAM-BHQ1 |  | Fluorophore used to label the Xf- probe | 5'-6FAM---BHQ-1-3' |  | Probe | IDT (Integrated DNA Technologies) |  | Fluorophore used to label the Xf- probe | FAM/BHQ |  | Fluorophore used to label the Xf- probe | FAM/BHQ-1 |  | Fluorophore used to label the Xf- probe | FAM/BHQ1 |  | Fluorophore used to label the Xf- probe | No Probe in house, thus CyGreen as unspecific dsDNA dye used |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | FAM/BHQ |  | Fluorophore used to label the Xf- probe | as indicated/requested in protocol |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | FAM/TAMRA |  | Fluorophore used to label the Xf- probe | FAM |  | Fluorophore used to label the Xf- probe | 5'- FAM 3'-TAMRA
|  | Plasticware (qPCR tubes, strips or plates) | Eppendorf twin.tec® 96 real-time-PCR-Platten, skirted, 150 µL, PCR clean |  | Plasticware (qPCR tubes, strips or plates) | Brand, strips of 8 PCR tubes, white |  | Plasticware (qPCR tubes, strips or plates) | Bio-rad |  | Plasticware (qPCR tubes, strips or plates) | BIORAD |  | Plasticware (qPCR tubes, strips or plates) | BIOPLASTIC |  | Plasticware (qPCR tubes, strips or plates) | PCR plate non skirted thin walled, BG Plastic |  | Plasticware (qPCR tubes, strips or plates) | Axygen |  | Plasticware (qPCR tubes, strips or plates) | 96 well plates Mx3005P Agilent Technologies |  | Fluorophore used to label the Xf- probe | 5' 6-FAM 3' ZEN/IBFQ |  | Plasticware (qPCR tubes, strips or plates) | Biorad |  | Plasticware (qPCR tubes, strips or plates) | Applied Biosystems |  | Plasticware (qPCR tubes, strips or plates) | 96well plates Applied Biosystems 4346906/ Adhasive Film MicroAMP 4311971 |  | Plasticware (qPCR tubes, strips or plates) | ABI Microamp |  | Plasticware (qPCR tubes, strips or plates) | Indicate here company/brand |  | Plasticware (qPCR tubes, strips or plates) | Roche |  | Plasticware (qPCR tubes, strips or plates) | plates, biorad |  | Plasticware (qPCR tubes, strips or plates) | Biorad/plates |  | Plasticware (qPCR tubes, strips or plates) | Applied Biosystems/MicropAmp Optical 96 Well Reaction Plate (N8010560), MicroAmp 8 Cap Strip (4323032) |  | Plasticware (qPCR tubes, strips or plates) | Bio Rad |  | Plasticware (qPCR tubes, strips or plates) | Applied Biosystems
|  | Final volume of the reaction (µl) | 10µl |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 15 |  | Final volume of the reaction (µl) | 20µl |  | Final volume of the reaction (µl) | 20 |  | Plasticware (qPCR tubes, strips or plates) | BIOplastics |  | Final volume of the reaction (µl) | 20µl |  | Final volume of the reaction (µl) | 18+2 |  | Final volume of the reaction (µl) | 20 µl |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 20 µl |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 20 µl |  | Final volume of the reaction (µl) | 20ul |  | Final volume of the reaction (µl) | 20 |  | Final volume of the reaction (µl) | 25
|  | Real time Termocycler | Eppendorf Realplex 4 Mastercycler S |  | Real time Termocycler | Bioneer, Exicycler™ 96 |  | Real time Termocycler | Bio-Rad CF-X96 |  | Real time Termocycler | CFX96 Touch™ Real-Time PCR Detection System |  | Real time Termocycler | LIGHTCYCLER 480 I |  | Real time Termocycler | Biorad iQ Cycler |  | Real time Termocycler | Applied Biosystems 7900HT |  | Real time Termocycler | Stratagene Mx3005P |  | Final volume of the reaction (µl) | 20 |  | Real time Termocycler | iCycler BioRad |  | Real time Termocycler | Applied Biosystems StepOnePlus |  | Real time Termocycler | StepOnePlus Applied Biosystems |  | Real time Termocycler | ABI QuantStudio 3 |  | Real time Termocycler | Corbett Research RG-3000 |  | Real time Termocycler | Roche LC-480 |  | Real time Termocycler | Bio-Rad CFX96 |  | Real time Termocycler | Biorad, CFX96 |  | Real time Termocycler | Applied Biosystems 7900 |  | Real time Termocycler | CFX 96 Bio Rad |  | Real time Termocycler | Applied Biosystems 7900 HT Fast Real-time PCR System
|  | PAC 1:20 | [23 empty] | Real time Termocycler | Biorad C1000+CFX96 qPCR
[8 empty] | Reagents | Con.solution | Vol.for 1 tube |  |  |  | Reaction mix* | 2x FastStart Essential DNA Probes Master Roche (With/without uracil-DNA-glycosylase and dUTP)
[8 empty] | Ultra pure water |  | 6.6 |  |  |  | Primers/probe | IDT
[8 empty] | Master Mix Fast * | 2x | 10 |  |  |  | Fluorophore used to label the Xf- probe | FAM | [37 empty] | Composition of the reaction mix | Volume for One Sample
[8 empty] | XF-F | 10µM | 0.6 |  |  |  | Plasticware (qPCR tubes, strips or plates) | BIOPLASTIC | [37 empty] | Molecular Grade Water | 6.6ul
[8 empty] | XF-R | 10µM | 0.6 |  |  |  | Final volume of the reaction (µl) | 20 | [37 empty] | 2X Master Mix for Probes | 10ul
[8 empty] | XF-P | 10µM | 0.2 | [42 empty] | 10 µM Forward Primer XF-F | 0.6ul
[8 empty] | PCR Mix Volume | 18µl |  |  |  | L11 | [39 empty] | 10 µM Reverse Primer XF-R | 0.6ul
[8 empty] | DNA Sample Volume | 2µl |  |  |  |  | HOT FIREPol® Probe Universal qPCR Mix +UDG | 2x FastStart Essential DNA Probes Master Roche | 2x FastStart Essential DNA Probes Master Roche +UDG | [36 empty] | 10 µM TaqMan probe XF-P | 0.2ul
[13 empty] | 10^6 (cfu/mL) rep1 | 18.605 | 18.605 | 18.605 | [36 empty] | Total Genomic DNA | 2ul
[13 empty] | 10^6 (cfu/mL) rep2 | 18.64 | 18.64 | 18.64
[13 empty] | 10^6 (cfu/mL) rep3 | 18.56 | 18.56 | 18.56
[13 empty] | 10^5 (cfu/mL) rep1 | 21.965 | 21.965 | 21.965
[13 empty] | 10^5 (cfu/mL) rep2 | 22.025 | 22.025 | 22.025
[13 empty] | 10^5 (cfu/mL) rep3 | 21.955 | 21.955 | 21.955
[13 empty] | 10^4(cfu/mL)rep 1 | 25.01 | 25.01 | 25.01
[13 empty] | 10^4 (cfu/mL) rep2 | 25.155 | 25.155 | 25.155
[13 empty] | 10^4(cfu/mL) rep3 | 25.395 | 25.395 | 25.395
[13 empty] | Healthy rep 1 | n/a | n/a | n/a
[13 empty] | Healthy rep2 | n/a | n/a | n/a
[13 empty] | Healthy rep3 | n/a | n/a | n/a
Note on S38: utente: Quantinova probe PCR kit was attivated 5' at 95°C
Note on BI39: utente: XF-F/XF-R 0.4 µM; XF-P 0.2 µM