## results ctab HP
TEST PERFORMANCE STUDY Molecular detection of Xylella fastidiosa through quantitative real time assays implementation of EU-XF- PT-2017-02 - XYLELLA FASTIDIOSA
N. participant laboratories: 12
|  | n/a= not applicable | [5 empty] | RESULT SUMMARY: CTAB extraction and qPCR (Harper etl al., 2010)
Laboratory code |  | L01 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L16 |  |  |  | L20 |  |  |  | L21 |  |  |  | L27 |  |  |  | L29 |  |  |  | L30 |  |  |  | L33
List of samples | assigned value | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance
10^6 (cfu/mL) rep1 | positive | 4C | 19.08 | positive | PA | 11C | 21.315 | positive | PA | 10C | 19.36 | positive | PA | 12C | 20.95 | positive | PA | 7C | 21.635 | positive | PA | 9C | 21.595 | positive | PA | 3C | 21.45 | positive | PA | 6C | 21.0885 | positive | PA | 5C | 21.38 | positive | PA | 12C | 18.197 | positive | PA | 2C | 21.04 | positive | PA | 11C | 21.905 | positive | PA
10^6 (cfu/mL) rep2 | positive | 10C | 18.73 | positive | PA | 4C | 21.45 | positive | PA | 4C | 19.73 | positive | PA | 2C | 20 | positive | PA | 3C | 21.19 | positive | PA | 2C | 21.555 | positive | PA | 1C | 21.15 | positive | PA | 13C | 21.1515 | positive | PA | 8C | 20.86 | positive | PA | 2C | 17.9827 | positive | PA | 5C | 21.31 | positive | PA | 2C | 21.935 | positive | PA
10^6 (cfu/mL) rep3 | positive | 13C | 18.955 | positive | PA | 9C | 21.405 | positive | PA | 1C | 19.54 | positive | PA | 3C | 20.85 | positive | PA | 13C | 21.295 | positive | PA | 11C | 21.245 | positive | PA | 2C | 20.6 | positive | PA | 8C | 21.4405 | positive | PA | 4C | 21.68 | positive | PA | 6C | 18.069 | positive | PA | 7C | 20.315 | positive | PA | 9C | 21.905 | positive | PA
10^5 (cfu/mL) rep1 | positive | 8C | 22.79 | positive | PA | 2C | 24.275 | positive | PA | 7C | 23.17 | positive | PA | 11C | 23.9 | positive | PA | 11C | 24.87 | positive | PA | 3C | 24.275 | positive | PA | 8C | 26.3 | positive | PA | 10C | 24.658 | positive | PA | 1C | 24.43 | positive | PA | 11C | 21.5786 | positive | PA | 6C | 24.715 | positive | PA | 12C | 25.37 | positive | PA
10^5 (cfu/mL) rep2 | positive | 7C | 22.69 | positive | PA | 7C | 24.63 | positive | PA | 11C | 23.19 | positive | PA | 13C | 23.4 | positive | PA | 9C | 24.935 | positive | PA | 6C | 24.505 | positive | PA | 12C | 25 | positive | PA | 7C | 24.7045 | positive | PA | 7C | 24.37 | positive | PA | 13C | 21.624 | positive | PA | 10C | 25.255 | positive | PA | 6C | 25.495 | positive | PA
10^5 (cfu/mL) rep3 | positive | 9C | 22.595 | positive | PA | 6C | 24.645 | positive | PA | 13C | 23.23 | positive | PA | 1C | 23.5 | positive | PA | 2C | 24.94 | positive | PA | 13C | 25.025 | positive | PA | 7C | 24.8 | positive | PA | 1C | 25.1265 | positive | PA | 9C | 24.38 | positive | PA | 4C | 21.6358 | positive | PA | 8C | 23.61 | positive | PA | 10C | 24.87 | positive | PA
10^4(cfu/mL)rep 1 | positive | 5C | 26.13 | positive | PA | 5C | 27.9 | positive | PA | 5C | 26.42 | positive | PA | 6C | 27.6 | positive | PA | 1C | 27.99 | positive | PA | 10C | 28.36 | positive | PA | 10C | 28.25 | positive | PA | 4C | 28.3265 | positive | PA | 3C | 27.76 | positive | PA | 5C | 24.8362 | positive | PA | 3C | 26.87 | positive | PA | 8C | 29 | positive | PA
10^4 (cfu/mL) rep2 | positive | 1C | 26.145 | positive | PA | 1C | 27.74 | positive | PA | 12C | 26.58 | positive | PA | 7C | 26.95 | positive | PA | 4C | 27.88 | positive | PA | 1C | 28.335 | positive | PA | 11C | 28.5 | positive | PA | 12C | 28.2225 | positive | PA | 2C | 27.66 | positive | PA | 1C | 24.7384 | positive | PA | 9C | 26.92 | positive | PA | 1C | 28.5 | positive | PA
10^4(cfu/mL) rep3 | positive | 6C | 25.93 | positive | PA | 10C | 27.845 | positive | PA | 9C | 26.45 | positive | PA | 10C | 26.45 | positive | PA | 5C | 27.935 | positive | PA | 8C | 28.42 | positive | PA | 13C | 27.95 | positive | PA | 11C | 28.1385 | positive | PA | 13C | 27.76 | positive | PA | 9C | 24.6874 | positive | PA | 1C | 25.7 | positive | PA | 4C | 28.545 | positive | PA
Healthy rep 1 | negative | 12C | n/a | negative | NA | 3C | n/a | negative | NA | 6C | n/a | negative | NA | 9C | n/a | negative | NA | 6C | 40 | negative | NA | 12C | NA | negative | NA | 4C | n/a | negative | NA | 9C | n/a | negative | NA | 10C | n/a | negative | NA | 7C | n/a | negative | NA | 4C | n/a | negative | NA | 13C | n/a | negative | NA
Healthy rep2 | negative | 11C | n/a | negative | NA | 13C | n/a | negative | NA | 2C | n/a | negative | NA | 8c | n/a | negative | NA | 10C | 40 | negative | NA | 5C | NA | negative | NA | 6C | n/a | negative | NA | 5C | n/a | negative | NA | 12C | n/a | negative | NA | 3C | n/a | negative | NA | 11C | n/a | negative | NA | 5C | n/a | negative | NA
Healthy rep3 | negative | 2C | n/a | negative | NA | 12C | n/a | negative | NA | 3C | n/a | negative | NA | 5C | n/a | negative | NA | 8C | 40 | negative | NA | 7C | NA | negative | NA | 9C | n/a | negative | NA | 2C | n/a | negative | NA | 6C | n/a | negative | NA | 10C | n/a | negative | NA | 13C | n/a | negative | NA | 3C | n/a | negative | NA
Lure | Lure | 3C |  | positive | not evaluated | 8C |  | positive | not evaluated | 8C |  | positive | not evaluated | 4C |  | undetermined | not evaluated | 12C | 40 | negative | not evaluated | 4C | NA | negative | not evaluated | 5C |  | positive | not evaluated | 3C |  | negative | not evaluated | 11C |  | positive | not evaluated | 8C |  | positive | not evaluated | 12C |  | negative | not evaluated | 7C |  | positive | not evaluated
Total
N+ | 9
N- | 3
N | 12
Performance criteria: sensibility, specificity, accuracy, repeatability
Laboratory Code |  | L01 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L16 |  |  |  | L20 |  |  |  | L21 |  |  |  | L27 |  |  |  | L29 |  |  |  | L30 |  |  |  | L33 |  |  |  | Average | Performance criteria
Sensibility |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | Sensibility
Specificity |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 200% |  |  |  | 100% |  |  |  | 100% | Specificity
Accuracy |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 300% |  |  |  | 100% |  |  |  | 100% | Accuracy
Repeatability |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 400% |  |  |  | 100% |  |  |  | 100% | Repeatability
Real time Termocycler |  |  | Eppendorf Realplex 4 Mastercycler S | [5 empty] | Bio-Rad CF-X96 |  |  | ROCHE LightCycler 480 I |  |  |  |  | IQ Cycler Biorad |  |  |  | Applied biosystems 7900HT |  |  |  | Stratagene Mx3005P |  |  |  | StepOnePlus Applied Biosystems |  |  |  | Quant Studio 3 |  |  |  | Bio-Rad CFX96 |  |  |  | Applied Biosystems 7900 |  |  | CFX 96 Bio Rad |  |  |  | Applied Biosystems 7900 HT Fast Real-time PCR System |  | 100% | Reproducibility
PAC 1:20