## results ctab Li-MGB
TEST PERFORMANCE STUDY Molecular detection of Xylella fastidiosa through quantitative real time assays implementation of EU-XF- PT-2017-02 - XYLELLA FASTIDIOSA
N. participant laboratories: 13
|  | n/a= not applicable | [5 empty] | RESULT SUMMARY: CTAB extraction and qPCR (Li et al., 2013 wirh mgb probe)
Laboratory code |  | L01 |  |  |  | L09 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L16 |  |  |  | L20 |  |  |  | L21 |  |  |  | L27 |  |  |  | L29 |  |  |  | L30 |  |  |  | L33
List of samples | assigned value | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance
10^6 (cfu/mL) rep1 | positive | 4C | 19.915 | positive | PA | 1C | 19.26 | positive | PA | 11C | 18.38 | positive | PA | 10C | 18.405 | positive | PA | 12C | 18.75 | positive | PA | 7C | 17.77 | positive | PA | 9C | 20.12 | positive | PA | 3C | 20.25 | positive | PA | 6C | 19.523 | positive | PA | 5C | 19.96 | positive | PA | 12C | 17.2017 | positive | PA | 2C | 19.37 | positive | PA | 11C | 17.81 | positive | PA
10^6 (cfu/mL) rep2 | positive | 10C | 19.62 | positive | PA | 4C | 19.29 | positive | PA | 4C | 18.58 | positive | PA | 4C | 18.49 | positive | PA | 2C | 19 | positive | PA | 3C | 17.315 | positive | PA | 2C | 19.84 | positive | PA | 1C | 19.45 | positive | PA | 13C | 19.621 | positive | PA | 8C | 19.695 | positive | PA | 2C | 17.2004 | positive | PA | 5C | 20.48 | positive | PA | 2C | 17.925 | positive | PA
10^6 (cfu/mL) rep3 | positive | 13C | 19.83 | positive | PA | 2C | 19.905 | positive | PA | 9C | 18.42 | positive | PA | 1C | 18.43 | positive | PA | 3C | 18.9 | positive | PA | 13C | 17.085 | positive | PA | 11C | 19.62 | positive | PA | 2C | 19.8 | positive | PA | 8C | 19.8975 | positive | PA | 4C | 19.955 | positive | PA | 6C | 17.315 | positive | PA | 7C | 19.37 | positive | PA | 9C | 18.33 | positive | PA
10^5 (cfu/mL) rep1 | positive | 8C | 23.71 | positive | PA | 8C | 23.16 | positive | PA | 2C | 21.375 | positive | PA | 7C | 22.03 | positive | PA | 11C | 21.9 | positive | PA | 11C | 20.71 | positive | PA | 3C | 22.79 | positive | PA | 8C | 24.85 | positive | PA | 10C | 23.179 | positive | PA | 1C | 23.24 | positive | PA | 11C | 20.8617 | positive | PA | 6C | 22.4 | positive | PA | 12C | 21.18 | positive | PA
10^5 (cfu/mL) rep2 | positive | 7C | 23.555 | positive | PA | 5C | 23.415 | positive | PA | 7C | 21.815 | positive | PA | 11C | 22.1 | positive | PA | 13C | 22.25 | positive | PA | 9C | 20.505 | positive | PA | 6C | 22.93 | positive | PA | 12C | 23.45 | positive | PA | 7C | 23.1305 | positive | PA | 7C | 23.38 | positive | PA | 13C | 20.7741 | positive | PA | 10C | 22.01 | positive | PA | 6C | 21.665 | positive | PA
10^5 (cfu/mL) rep3 | positive | 9C | 23.66 | positive | PA | 9C | 23.29 | positive | PA | 6C | 21.645 | positive | PA | 13C | 22.005 | positive | PA | 1C | 22.45 | positive | PA | 2C | 20.73 | positive | PA | 13C | 23.41 | positive | PA | 7C | 23.35 | positive | PA | 1C | 23.469 | positive | PA | 9C | 23.255 | positive | PA | 4C | 20.8232 | positive | PA | 8C | 23.03 | positive | PA | 10C | 21.305 | positive | PA
10^4(cfu/mL)rep 1 | positive | 5C | 27.255 | positive | PA | 11C | 26.245 | positive | PA | 5C | 24.305 | positive | PA | 5C | 25.125 | positive | PA | 6C | 25.125 | positive | PA | 1C | 24.005 | positive | PA | 10C | 26.71 | positive | PA | 10C | 26.6 | positive | PA | 4C | 26.663 | positive | PA | 3C | 26.83 | positive | PA | 5C | 24.1084 | positive | PA | 3C | 25.32 | positive | PA | 8C | 25.22 | positive | PA
10^4 (cfu/mL) rep2 | positive | 1C | 27.42 | positive | PA | 6C | 26.24 | positive | PA | 1C | 24.915 | positive | PA | 12C | 25.445 | positive | PA | 7C | 25.445 | positive | PA | 4C | 24.03 | positive | PA | 1C | 27.02 | positive | PA | 11C | 26.85 | positive | PA | 12C | 26.7505 | positive | PA | 2C | 26.69 | positive | PA | 1C | 23.9405 | positive | PA | 9C | 25.21 | positive | PA | 1C | 24.41 | positive | PA
10^4(cfu/mL) rep3 | positive | 6C | 26.91 | positive | PA | 13C | 26.305 | positive | PA | 10C | 24.87 | positive | PA | 9C | 25.375 | positive | PA | 10C | 25.7 | positive | PA | 5C | 23.66 | positive | PA | 8C | 26.865 | positive | PA | 13C | 26.55 | positive | PA | 11C | 26.787 | positive | PA | 13C | 26.74 | positive | PA | 9C | 23.9932 | positive | PA | 1C | 26.34 | positive | PA | 4C | 24.67 | positive | PA
Healthy rep 1 | negative | 12C | n/a | negative | NA | 12C | n/a - 38.19 | negative | NA | 3C | n/a | negative | NA | 6C | 34.4 | undetermined | PD | 9C | 37.5 | undtermined | PD | 6C | 40 | negative | NA | 12C | n/a | negative | NA | 4C | n/a | negative | NA | 9C | n/a | negative | NA | 10C | n/a | negative | NA | 7C | n/a | negative | NA | 4C | n/a | negative | NA | 13C | 36.225 | undetermined | PD
Healthy rep2 | negative | 11C | n/a | negative | NA | 7C | 36.95 | undetermined | PD | 13C | n/a | negative | NA | 2C | 36.555 | undetermined | PD | 4C | 36.45 | undtermined | PD | 10C | 40 | negative | NA | 5C | n/a | negative | NA | 6C | n/a | negative | NA | 5C | n/a | negative | NA | 12C | n/a | negative | NA | 3C | n/a | negative | NA | 11C | n/a | negative | NA | 5C | 36.62 | undetermined | PD
Healthy rep3 | negative | 2C | n/a | negative | NA | 10C | 35.435 | undetermined | PD | 12C | n/a | negative | NA | 3C | 34.79 | undetermined | PD | 5C | 37.1 | undtermined | PD | 8C | 38.155 | undetermined | PD | 7C | n/a | negative | NA | 9C | n/a | negative | NA | 2C | n/a | negative | NA | 6C | 39.03 | undetermined | PD | 10C | n/a | negative | NA | 13C | n/a | negative | NA | 3C | - | undetermined | PD
Lure | Lure | 3C |  | positive | not evaluated | 3C |  | positive | not evaluated | 8C |  | positive | not evaluated | 8C |  | positive | not evaluated | 8C |  | negative | not evaluated | 12C |  | undetermine | not evaluated | 4C |  | negative | not evaluated | 5C |  | positive | not evaluated | 3C | n/a | negative | not evaluated | 11C |  | negative | not evaluated | 8C |  | positive | not evaluated | 12C |  | negative | not evaluated | 7C |  | positive | not evaluated
Total
N+ | 9
N- | 3
N | 12
Performance criteria: sensibility, specificity, accuracy, repeatability
Laboratory Code |  | L01 |  |  |  | L09 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L16 |  |  |  | L20 |  |  |  | L21 |  |  |  | L27 |  |  |  | L29 |  |  |  | L30 |  |  |  | L33 |  |  |  | Average | Performance criteria
Sensibility |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | Sensibility
Specificity |  | 100% |  |  |  | 33% |  |  |  | 100% |  |  |  | 0% |  |  |  | 0% |  |  |  | 67% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 67% |  |  |  | 100% |  |  |  | 100% |  |  |  | 0% |  |  |  | 67% | Specificity
Accuracy |  | 100% |  |  |  | 83% |  |  |  | 100% |  |  |  | 75% |  |  |  | 75% |  |  |  | 92% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 92% |  |  |  | 100% |  |  |  | 100% |  |  |  | 75% |  |  |  | 92% | Accuracy
Repeatability |  | 100% |  |  |  | 89% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 89% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 89% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 97% | Repeatability
Real time Termocycler |  |  | Eppendorf Realplex 4 Mastercycler S |  |  |  |  | Bio-Rad CF-X96 |  |  |  |  | Bio-Rad CF-X96 |  |  | ROCHE LightCycler 480 I |  |  |  |  | IQ Cycler Biorad | [7 empty] | Stratagene Mx3005P |  |  |  | StepOnePlus Applied Biosystems |  |  |  | Quant Studio 3 |  |  |  | Bio-Rad CFX96 |  |  |  | Applied Biosystems 7900 |  |  | CFX 96 Bio Rad |  |  |  | Applied Biosystems 7900 HT Fast Real-time PCR System |  | 92% | Reproducibility
PAC 1:20
L11
[14 empty] | HOT FIREPol® Probe Universal qPCR Mix +UDG | 2x FastStart Essential DNA Probes Master Roche | 2x FastStart Essential DNA Probes Master Roche +UDG
[13 empty] | 10^6 (cfu/mL) rep1 | 18.605 | 18.605 | 18.605
[13 empty] | 10^6 (cfu/mL) rep2 | 18.64 | 18.64 | 18.64
[13 empty] | 10^6 (cfu/mL) rep3 | 18.56 | 18.56 | 18.56
[13 empty] | 10^5 (cfu/mL) rep1 | 21.965 | 21.965 | 21.965
[13 empty] | 10^5 (cfu/mL) rep2 | 22.025 | 22.025 | 22.025
[13 empty] | 10^5 (cfu/mL) rep3 | 21.955 | 21.955 | 21.955
[13 empty] | 10^4(cfu/mL)rep 1 | 25.01 | 25.01 | 25.01
[13 empty] | 10^4 (cfu/mL) rep2 | 25.155 | 25.155 | 25.155
[13 empty] | 10^4(cfu/mL) rep3 | 25.395 | 25.395 | 25.395
[13 empty] | Healthy rep 1 | n/a | n/a | n/a
[13 empty] | Healthy rep2 | n/a | n/a | n/a
[13 empty] | Healthy rep3 | n/a | n/a | n/a