## results ctab Li-SP
TEST PERFORMANCE STUDY Molecular detection of Xylella fastidiosa through quantitative real time assays implementation of EU-XF- PT-2017-02 - XYLELLA FASTIDIOSA
N. participant laboratories: 13
|  | n/a= not applicable | [5 empty] | RESULT SUMMARY: CTAB extraction and qPCR (Li et al., 2013 with standard probe)
Laboratory code |  | L01 |  |  |  | L09 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L16 |  |  |  | L20 |  |  |  | L21 |  |  |  | L27 |  |  |  | L29 |  |  |  | L30 |  |  |  | L33
List of samples | assigned value | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance
10^6 (cfu/mL) rep1 | positive | 4C | 17.91 | positive | PA | 1C | 20.47 | positive | PA | 11C | 19.375 | positive | PA | 10C | 19.785 | positive | PA | 12C | 21.75 | positive | PA | 7C | 20.9 | positive | PA | 9C | 21.235 | positive | PA | 3C | 19.6 | positive | PA | 6C | 19.8415 | positive | PA | 5C | 20.295 | positive | PA | 12C | 17.9004 | positive | PA | 2C | 22.24 | positive | PA | 11C | 20.38 | positive | PA
10^6 (cfu/mL) rep2 | positive | 10C | 17.86 | positive | PA | 4C | 19.05 | positive | PA | 4C | 19.585 | positive | PA | 4C | 19.845 | positive | PA | 2C | 24 | positive | PA | 3C | 20.855 | positive | PA | 2C | 21.355 | positive | PA | 1C | 19.9 | positive | PA | 13C | 19.7875 | positive | PA | 8C | 19.86 | positive | PA | 2C | 18.1252 | positive | PA | 5C | 24.06 | positive | PA | 2C | 20.385 | positive | PA
10^6 (cfu/mL) rep3 | positive | 13C | 17.955 | positive | PA | 2C | 19.965 | positive | PA | 9C | 19.405 | positive | PA | 1C | 19.545 | positive | PA | 3C | 24.35 | positive | PA | 13C | 20.835 | positive | PA | 11C | 20.66 | positive | PA | 2C | 18.8 | positive | PA | 8C | 19.879 | positive | PA | 4C | 20.23 | positive | PA | 6C | 18.0395 | positive | PA | 7C | 23.06 | positive | PA | 9C | 20.48 | positive | PA
10^5 (cfu/mL) rep1 | positive | 8C | 21.655 | positive | PA | 8C | 23.6 | positive | PA | 2C | 22.415 | positive | PA | 7C | 23.02 | positive | PA | 11C | 23.85 | positive | PA | 11C | 24.345 | positive | PA | 3C | 24.19 | positive | PA | 8C | 23.8 | positive | PA | 10C | 23.4435 | positive | PA | 1C | 25.015 | positive | PA | 11C | 21.3746 | positive | PA | 6C | 26.27 | positive | PA | 12C | 23.925 | positive | PA
10^5 (cfu/mL) rep2 | positive | 7C | 21.565 | positive | PA | 5C | 23.375 | positive | PA | 7C | 22.97 | positive | PA | 11C | 23.32 | positive | PA | 13C | 23.55 | positive | PA | 9C | 24.5 | positive | PA | 6C | 25 | positive | PA | 12C | 23.3 | positive | PA | 7C | 23.3715 | positive | PA | 7C | 23.195 | positive | PA | 13C | 21.5935 | positive | PA | 10C | 26.08 | positive | PA | 6C | 23.945 | positive | PA
10^5 (cfu/mL) rep3 | positive | 9C | 21.615 | positive | PA | 9C | 23.625 | positive | PA | 6C | 21.83 | positive | PA | 13C | 23.03 | positive | PA | 1C | 25.3 | positive | PA | 2C | 24.49 | positive | PA | 13C | 24.5 | positive | PA | 7C | 23.25 | positive | PA | 1C | 23.63 | positive | PA | 9C | 23.4 | positive | PA | 4C | 21.5269 | positive | PA | 8C | 26.15 | positive | PA | 10C | 20.335 | positive | PA
10^4(cfu/mL)rep 1 | positive | 5C | 25.055 | positive | PA | 11C | 27.115 | positive | PA | 5C | 25.845 | positive | PA | 5C | 26.45 | positive | PA | 6C | 26.9 | positive | PA | 1C | 27.765 | positive | PA | 10C | 27.69 | positive | PA | 10C | 26.9 | positive | PA | 4C | 26.8735 | positive | PA | 3C | 26.64 | positive | PA | 5C | 24.9815 | positive | PA | 3C | 28.11 | positive | PA | 8C | 27.535 | positive | PA
10^4 (cfu/mL) rep2 | positive | 1C | 25.015 | positive | PA | 6C | 26.54 | positive | PA | 1C | 26 | positive | PA | 12C | 26.87 | positive | PA | 7C | 26.55 | positive | PA | 4C | 27.425 | positive | PA | 1C | 28.07 | positive | PA | 11C | 26.05 | positive | PA | 12C | 26.948 | positive | PA | 2C | 26.66 | positive | PA | 1C | 24.6436 | positive | PA | 9C | 27.97 | positive | PA | 1C | 26.975 | positive | PA
10^4(cfu/mL) rep3 | positive | 6C | 24.8 | positive | PA | 13C | 24.8 | positive | PA | 10C | 25.965 | positive | PA | 9C | 26.435 | positive | PA | 10C | 26.45 | positive | PA | 5C | 27.55 | positive | PA | 8C | 27.68 | positive | PA | 13C | 26.1 | positive | PA | 11C | 26.9205 | positive | PA | 13C | 26.96 | positive | PA | 9C | 24.5762 | positive | PA | 1C | 28.55 | positive | PA | 4C | 27.135 | positive | PA
Healthy rep 1 | negative | 12C | n/a | negative | NA | 12C | n/a | negative | NA | 3C | n/a | negative | NA | 6C | 35.255 | undetermined | PD | 9C | 37.5 | undetermine | PD | 6C | 40 | negative | NA | 12C | n/a | negative | NA | 4C | n/a | negative | NA | 9C | n/a | negative | NA | 10C | n/a | negative | NA | 7C | n/a | negative | NA | 4C | n/a | negative | NA | 13C | n/a | negative | NA
Healthy rep2 | negative | 11C | n/a | negative | NA | 7C | 38.35 | undetermined | PD | 13C | n/a | negative | NA | 2C | n/a | negative | NA | 4C | 36 | undetermine | PD | 10C | 40 | negative | NA | 5C | n/a | negative | NA | 6C | n/a | negative | NA | 5C | n/a | negative | NA | 12C | n/a | negative | NA | 3C | n/a | negative | NA | 11C | n/a | negative | NA | 5C | n/a | negative | NA
Healthy rep3 | negative | 2C | n/a | negative | NA | 10C | 35.7 | undetermined | PD | 12C | n/a | negative | NA | 3C | 35.735 | undetermined | PD | 5C | 37.1 | undetermine | PD | 8C | 40 | negative | NA | 7C | n/a | negative | NA | 9C | n/a | negative | NA | 2C | n/a | negative | NA | 6C | n/a | negative | NA | 10C | n/a | negative | NA | 13C | n/a | negative | NA | 3C | n/a | negative | NA
Lure | Lure | 3C |  | positive | not evaluated | 3C |  | positive | not evaluated | 8C |  | positive | not evaluated | 8C |  | positive | not evaluated | 8C |  | negative | not evaluated | 12C |  | negative | not evaluated | 4C |  | negative | not evaluated | 5C |  | positive | not evaluated | 3C | n/a | negative | not evaluated | 11C |  | undetermined | not evaluated | 8C |  | positive | not evaluated | 12C |  | positive | not evaluated | 7C |  | positive | not evaluated
Total
N+ | 9
N- | 3
N | 12
Performance criteria: sensibility, specificity, accuracy, repeatability
Laboratory Code |  | L01 |  |  |  | L09 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L16 |  |  |  | L20 |  |  |  | L21 |  |  |  | L27 |  |  |  | L29 |  |  |  | L30 |  |  |  | L33 |  |  |  | Average | Performance criteria
Sensibility |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | Sensibility
Specificity |  | 100% |  |  |  | 33% |  |  |  | 100% |  |  |  | 33% |  |  |  | 0% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 82% | Specificity
Accuracy |  | 100% |  |  |  | 83% |  |  |  | 100% |  |  |  | 83% |  |  |  | 75% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 96% | Accuracy
Repeatability |  | 100% |  |  |  | 89% |  |  |  | 100% |  |  |  | 89% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 97% | Repeatability
Real time Termocycler |  |  | Eppendorf Realplex 4 Mastercycler S |  |  |  |  | Bio-Rad CF-X96 |  |  |  |  | Bio-Rad CF-X96 |  |  | ROCHE LightCycler 480 I |  |  |  |  | IQ Cycler Biorad |  |  |  | Applied biosystems 7900HT |  |  |  | Stratagene Mx3005P |  |  |  | StepOnePlus Applied Biosystems |  |  |  | Quant Studio 3 |  |  |  | Bio-Rad CFX96 |  |  |  | Applied Biosystems 7900 |  |  | CFX 96 Bio Rad |  |  |  | Applied Biosystems 7900 HT Fast Real-time PCR System |  | 96% | Reproducibility
PAC 1:20