## results mericon Li-SP
TEST PERFORMANCE STUDY Molecular detection of Xylella fastidiosa through quantitative real time assays implementation of EU-XF- PT-2017-02 - XYLELLA FASTIDIOSA
N. participant laboratories: 11
|  | n/a= not applicable | [5 empty] | RESULT SUMMARY: Mericon extraction and qPCR (Li et al., 2013 with standard probe)
Laboratory code |  | L01 |  |  |  | L09 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L20 |  |  |  | L21 |  |  |  | L22 |  |  |  | L29 |  |  |  | L30
List of samples | assigned value | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance | Decryption | Cq values (Average) | Results obtained | accordance/discordance
10^6 (cfu/mL) rep1 | positive | 4M | 19.585 | positive | PA | 1M | 22.135 | positive | PA | 11M | 21.59 | positive | PA | 10M | 21.49 | positive | PA | 12M | 23.95 | positive | PA | 7M | 22.63 | positive | PA | 3M | 22.8 | positive | PA | 6M | 21.62 | positive | PA | 4M | 22.23 | positive | PA | 12M | 19.3996 | positive | PA | 2M | 24.08 | positive | PA
10^6 (cfu/mL) rep2 | positive | 10M | 19.485 | positive | PA | 4M | 21.52 | positive | PA | 4M | 21.445 | positive | PA | 4M | 20.65 | positive | PA | 2M | 23 | positive | PA | 3M | 22.9 | positive | PA | 1M | 22.55 | positive | PA | 13M | 21.323 | positive | PA | 8M | 22.675 | positive | PA | 2M | 19.5106 | positive | PA | 5M | 24.98 | positive | PA
10^6 (cfu/mL) rep3 | positive | 13M | 19.24 | positive | PA | 2M | 21.365 | positive | PA | 9M | 21.835 | positive | PA | 1M | 21.255 | positive | PA | 3M | 22.65 | positive | PA | 13M | 22.52 | positive | PA | 2M | 22.3 | positive | PA | 8M | 21.011 | positive | PA | 5M | 22.575 | positive | PA | 6M | 19.5465 | positive | PA | 7M | 25.63 | positive | PA
10^5 (cfu/mL) rep1 | positive | 8M | 23.56 | positive | PA | 8M | 25.205 | positive | PA | 2M | 25.2 | positive | PA | 7M | 24.995 | positive | PA | 11M | 27 | positive | PA | 11M | 26.205 | positive | PA | 8M | 25.95 | positive | PA | 10M | 25.0045 | positive | PA | 9M | 26.49 | positive | PA | 11M | 23.0527 | positive | PA | 6M | 29.43 | positive | PA
10^5 (cfu/mL) rep2 | positive | 7M | 23.21 | positive | PA | 5M | 25.04 | positive | PA | 7M | 25.25 | positive | PA | 11M | 24.755 | positive | PA | 13M | 27.75 | positive | PA | 9M | 26.63 | positive | PA | 12M | 26 | positive | PA | 7M | 24.7685 | positive | PA | 13M | 26.53 | positive | PA | 13M | 23.1856 | positive | PA | 10M | 27.4 | positive | PA
10^5 (cfu/mL) rep3 | positive | 9M | 23.05 | positive | PA | 9M | 25.02 | positive | PA | 6M | 24.81 | positive | PA | 13M | 24.73 | positive | PA | 1M | 27.4 | positive | PA | 2M | 26.445 | positive | PA | 7M | 26.25 | positive | PA | 1M | 25.181 | positive | PA | 11M | 26.425 | positive | PA | 4M | 22.9748 | positive | PA | 8M | 28.01 | positive | PA
10^4(cfu/mL)rep 1 | positive | 5M | 26.545 | positive | PA | 11M | 28.385 | positive | PA | 5M | 28.23 | positive | PA | 5M | 28.585 | positive | PA | 6M | 28.2 | positive | PA | 1M | 29.24 | positive | PA | 10M | 29.3 | positive | PA | 4M | 28.2355 | positive | PA | 2M | 29.915 | positive | PA | 5M | 26.1837 | positive | PA | 3M | 30.56 | positive | PA
10^4 (cfu/mL) rep2 | positive | 1M | 26.945 | positive | PA | 6M | 28.66 | positive | PA | 1M | 28.66 | positive | PA | 12M | 27.89 | positive | PA | 7M | 27.8 | positive | PA | 4M | 29.345 | positive | PA | 11M | 28.85 | positive | PA | 12M | 28.2 | positive | PA | 12M | 29.815 | positive | PA | 1M | 26.19 | positive | PA | 9M | 30.48 | positive | PA
10^4(cfu/mL) rep3 | positive | 6M | 26.995 | positive | PA | 13M | 28.495 | positive | PA | 10M | 28.275 | positive | PA | 9M | 28.255 | positive | PA | 10M | 30.2 | positive | PA | 5M | 29.26 | positive | PA | 13M | 30 | positive | PA | 11M | 28.29 | positive | PA | 3M | 29.685 | positive | PA | 9M | 26.6034 | positive | PA | 1M | 31.18 | positive | PA
Healthy rep 1 | negative | 12M | 36.66 | undetermined | PD | 12M | n/a | negative | NA | 3M | n/a | negative | NA | 6M | n/a | negative | NA | 9M | n/a | negative | NA | 6M | 40 | negative | NA | 4M | n/a | negative | NA | 9M | n/a | negative | NA | 1M | n/a | negative | NA | 7M | n/a | negative | NA | 4M | n/a | negative | NA
Healthy rep2 | negative | 11M | n/a | negative | NA | 7M | n/a | negative | NA | 13M | n/a | negative | NA | 2M | n/a | negative | NA | 4M | n/a | negative | NA | 10M | 40 | negative | NA | 6M | n/a | negative | NA | 5M | n/a | negative | NA | 10M | n/a | negative | NA | 3M | n/a | negative | NA | 11M | n/a | negative | NA
Healthy rep3 | negative | 2M | n/a | negative | NA | 10M | n/a | negative | NA | 12M | n/a | negative | NA | 3M | n/a | negative | NA | 5M | n/a | negative | NA | 8M | 40 | negative | NA | 9M | n/a | negative | NA | 2M | n/a | negative | NA | 7M | n/a | negative | NA | 10M | n/a | negative | NA | 13M | n/a | negative | NA
Lure | Lure | 3M |  | positive | not evaluated | 3M |  | positive | not evaluated | 8M |  | positive | not evaluated | 8M |  | positive | not evaluated | 8M |  | negative | not evaluated | 12M | 40 | negative | not evaluated | 5M |  | positive | not evaluated | 3M |  | negative | not evaluated | 6M |  | negative | not evaluated | 8M |  | positive | not evaluated | 12M |  | negative | not evaluated
Total
N+ | 9
N- | 3
N | 12
Performance criteria: sensibility, specificity, accuracy, repeatability
Laboratory Code |  | L01 |  |  |  | L09 |  |  |  | L10 |  |  |  | L11 |  |  |  | L12 |  |  |  | L13 |  |  |  | L20 |  |  |  | L21 |  |  |  | L22 |  |  |  | L29 |  |  |  | L30 |  |  |  | Average | Performance criteria
Sensibility |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | [11 empty] | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | Sensitivity
Specificity |  | 67% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | [11 empty] | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 97% | Specificity
Accuracy |  | 92% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | [11 empty] | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 99% | Accuracy
Repeatability |  | 89% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% | [11 empty] | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 100% |  |  |  | 99% | Repeatability
Real time Termocycler |  |  | Eppendorf Realplex 4 Mastercycler S |  |  |  |  | Bio-Rad CF-X96 |  |  |  |  | Bio-Rad CF-X96 |  |  | ROCHE LightCycler 480 I |  |  |  |  | IQ Cycler Biorad |  |  |  | Applied biosystems 7900HT |  |  |  | StepOnePlus Applied Biosystems |  |  |  | Quant Studio 3 |  |  |  | Bio-Rad CFX96 |  |  |  | Applied Biosystems 7900 |  |  | CFX 96 Bio Rad |  | 99% | Reproducibilty
PAC 1:20
L11
[14 empty] | HOT FIREPol® Probe Universal qPCR Mix +UDG | 2x FastStart Essential DNA Probes Master Roche | 2x FastStart Essential DNA Probes Master Roche +UDG
[13 empty] | 10^6 (cfu/mL) rep1 | 18.605 | 18.605 | 18.605
[13 empty] | 10^6 (cfu/mL) rep2 | 18.64 | 18.64 | 18.64
[13 empty] | 10^6 (cfu/mL) rep3 | 18.56 | 18.56 | 18.56
[13 empty] | 10^5 (cfu/mL) rep1 | 21.965 | 21.965 | 21.965
[13 empty] | 10^5 (cfu/mL) rep2 | 22.025 | 22.025 | 22.025
[13 empty] | 10^5 (cfu/mL) rep3 | 21.955 | 21.955 | 21.955
[13 empty] | 10^4(cfu/mL)rep 1 | 25.01 | 25.01 | 25.01
[13 empty] | 10^4 (cfu/mL) rep2 | 25.155 | 25.155 | 25.155
[13 empty] | 10^4(cfu/mL) rep3 | 25.395 | 25.395 | 25.395
[13 empty] | Healthy rep 1 | n/a | n/a | n/a
[13 empty] | Healthy rep2 | n/a | n/a | n/a
[13 empty] | Healthy rep3 | n/a | n/a | n/a